## Part # Table Info
PART NUMBER | HEIGHT | WIDTH | DEPTH | COOLING CAPACITY | VOLTAGE | FORM FACTOR | DRAWING | CAD MODEL
A422030-ACRM4K | 14U (820 mm) | 24" (609 mm) | 32.42" (823 mm) | 4K BTU | 115V | Rack Mount | Sales Team Popup | Sales Team Popup
A422036-ACRM4K | 14U (820 mm) | 24" (609 mm) | 38.42" (976 mm) | 4K BTU | 115V | Rack Mount | Sales Team Popup | Sales Team Popup
A422042-ACRM4K | 14U (820 mm) | 24" (609 mm) | 44.42" (1128 mm) | 4K BTU | 115V | Rack Mount | Sales Team Popup | Sales Team Popup
A422030ACRM10K3 | 24U (1264 mm) | 24" (609 mm) | 32.42" (823 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A422036ACRM10-3 | 24U (1264 mm) | 24" (609 mm) | 38.42" (976 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A422042-ACRM10K | 24U (1264 mm) | 24" (609 mm) | 44.42" (1128 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A732030ACRM10-1 | 42U (2067 mm) | 24" (609 mm) | 32.42" (823 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A732036ACRM10-2 | 42U (2067 mm) | 24" (609 mm) | 38.42" (976 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A732042ACRM10K2 | 42U (2067 mm) | 24" (609 mm) | 44.42" (1128 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A732030-ACSM12K | 42U (2067 mm) | 24" (609 mm) | 32.42" (823 mm) | 12K BTU | 115 | Side Mount | Sales Team Popup | Sales Team Popup
A732036-ACSM12K | 42U (2067 mm) | 24" (609 mm) | 38.42" (976 mm) | 12K BTU | 115 | Side Mount | Sales Team Popup | Sales Team Popup
A732042-ACSM12K | 42U (2067 mm) | 24" (609 mm) | 44.42" (1128 mm) | 12K BTU | 115 | Side Mount | Sales Team Popup | Sales Team Popup
A732030-ACSM20K | 42U (2067 mm) | 24" (609 mm) | 32.42" (823 mm) | 20K BTU | 230V | Side Mount | Sales Team Popup | Sales Team Popup
A732036-ACSM20K | 42U (2067 mm) | 24" (609 mm) | 38.42" (976 mm) | 20K BTU | 230V | Side Mount | Sales Team Popup | Sales Team Popup
A732042-ACSM20K | 42U (2067 mm) | 24" (609 mm) | 44.42" (1128 mm) | 20K BTU | 230V | Side Mount | Sales Team Popup | Sales Team Popup
A772030ACRM10K2 | 44U (2156 mm) | 24" (609 mm) | 32.42" (823 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A772036ACRM10-3 | 44U (2156 mm) | 24" (609 mm) | 38.42" (976 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A772042ACRM10K2 | 44U (2156 mm) | 24" (609 mm) | 44.42" (1128 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A772030-ACSM12K | 44U (2156 mm) | 24" (609 mm) | 32.42" (823 mm) | 12K BTU | 115V | Side Mount | Sales Team Popup | Sales Team Popup
A772036-ACSM12K | 44U (2156 mm) | 24" (609 mm) | 38.42" (976 mm) | 12K BTU | 115V | Side Mount | Sales Team Popup | Sales Team Popup
A772042-ACSM12K | 44U (2156 mm) | 24" (609 mm) | 44.42" (1128 mm) | 12K BTU | 115V | Side Mount | Sales Team Popup | Sales Team Popup
A772030-ACSM20K | 44U (2156 mm) | 24" (609 mm) | 32.42" (823 mm) | 20K BTU | 230V | Side Mount | Sales Team Popup | Sales Team Popup
A772036-ACSM20K | 44U (2156 mm) | 24" (609 mm) | 38.42" (976 mm) | 20K BTU | 230V | Side Mount | Sales Team Popup | Sales Team Popup
A772042-ACSM20K | 44U (2156 mm) | 24" (609 mm) | 44.42" (1128 mm) | 20K BTU | 230V | Side Mount | Sales Team Popup | Sales Team Popup
A842030ACRM10-2 | 48U (2334 mm) | 24" (609 mm) | 32.42" (823 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A842036ACRM10K5 | 48U (2334 mm) | 24" (609 mm) | 38.42" (976 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A842042ACRM10K2 | 48U (2334 mm) | 24" (609 mm) | 44.42" (1128 mm) | 10K BTU | 230V | Rack Mount | Sales Team Popup | Sales Team Popup
A842030-ACSM12K | 48U (2334 mm) | 24" (609 mm) | 32.42" (823 mm) | 12K BTU | 115V | Side Mount | Sales Team Popup | Sales Team Popup
A842036-ACSM12K | 48U (2334 mm) | 24" (609 mm) | 38.42" (976 mm) | 12K BTU | 115V | Side Mount | Sales Team Popup | Sales Team Popup
A842042-ACSM12K | 48U (2334 mm) | 24" (609 mm) | 44.42" (1128 mm) | 12K BTU | 115V | Side Mount | Sales Team Popup | Sales Team Popup
A842030-ACSM20K | 48U (2334 mm) | 24" (609 mm) | 32.42" (823 mm) | 20K BTU | 230V | Side Mount | Sales Team Popup | Sales Team Popup
A842036-ACSM20K | 48U (2334 mm) | 24" (609 mm) | 38.42" (976 mm) | 20K BTU | 230V | Side Mount | Sales Team Popup | Sales Team Popup
A842042-ACSM20K | 48U (2334 mm) | 24" (609 mm) | 44.42" (1128 mm) | 20K BTU | 230V | Side Mount | Sales Team Popup | Sales Team Popup