## Part # Table Info
PART NUMBER | RACK WIDTH | RACK DEPTH | TOTAL CFM | VOLTAGE | DRAWING | CAD MODEL
FT2024-2105-2HC | 24" | 24" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2030-2105-2HC | 24" | 30" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2036-2105-2HC | 24" | 36" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2042-2105-2HC | 24" | 42" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2045-2105-2HC | 24" | 45" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2024-4105-2HC | 24" | 24" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2030-4105-2HC | 24" | 30" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2036-4105-2HC | 24" | 36" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2042-4105-2HC | 24" | 42" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2045-4105-2HC | 24" | 45" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2424-2105-2HC | 28" | 24" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2430-2105-2HC | 28" | 30" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2436-2105-2HC | 28" | 36" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2442-2105-2HC | 28" | 42" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2445-2105-2HC | 28" | 45" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2424-4105-2HC | 28" | 24" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2430-4105-2HC | 28" | 30" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2436-4105-2HC | 28" | 36" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2442-4105-2HC | 28" | 42" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2445-4105-2HC | 28" | 45" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2824-2105-2HC | 32" | 24" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2830-2105-2HC | 32" | 30" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2836-2105-2HC | 32" | 36" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2842-2105-2HC | 32" | 42" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2845-2105-2HC | 32" | 45" | 210 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2824-4105-2HC | 32" | 24" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2830-4105-2HC | 32" | 30" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2836-4105-2HC | 32" | 36" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2842-4105-2HC | 32" | 42" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2845-4105-2HC | 32" | 45" | 420 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2024-2HC | 24" | 24" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2030-2HC | 24" | 30" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2036-2HC | 24" | 36" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2042-2HC | 24" | 42" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2045-2HC | 24" | 45" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2024-2HC | 24" | 24" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2030-2HC | 24" | 30" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2036-2HC | 24" | 36" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2042-2HC | 24" | 42" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2045-2HC | 24" | 45" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2424-2HC | 28" | 24" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2430-2HC | 28" | 30" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2436-2HC | 28" | 36" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2442-2HC | 28" | 42" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2445-2HC | 28" | 45" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2424-2HC | 28" | 24" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2430-2HC | 28" | 30" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2436-2HC | 28" | 36" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2442-2HC | 28" | 42" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2445-2HC | 28" | 45" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2824-2HC | 32" | 24" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2830-2HC | 32" | 30" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2836-2HC | 32" | 36" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2842-2HC | 32" | 42" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2845-2HC | 32" | 45" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2824-2HC | 32" | 24" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2830-2HC | 32" | 30" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2836-2HC | 32" | 36" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2842-2HC | 32" | 42" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2845-2HC | 32" | 45" | 535 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2024-2535-2HC | 24" | 24" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2030-2535-2HC | 24" | 30" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2036-2535-2HC | 24" | 36" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2042-2535-2HC | 24" | 42" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2045-2535-2HC | 24" | 45" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2024-2535-2HC | 24" | 24" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2030-2535-2HC | 24" | 30" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2036-2535-2HC | 24" | 36" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2042-2535-2HC | 24" | 42" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2045-2535-2HC | 24" | 45" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2424-2535-2HC | 28" | 24" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2430-2535-2HC | 28" | 30" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2436-2535-2HC | 28" | 36" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2442-2535-2HC | 28" | 42" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2445-2535-2HC | 28" | 45" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2424-2535-2HC | 28" | 24" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2430-2535-2HC | 28" | 30" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2436-2535-2HC | 28" | 36" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2442-2535-2HC | 28" | 42" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2445-2535-2HC | 28" | 45" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2824-2535-2HC | 32" | 24" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2830-2535-2HC | 32" | 30" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2836-2535-2HC | 32" | 36" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2842-2535-2HC | 32" | 42" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2845-2535-2HC | 32" | 45" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2824-2535-2HC | 32" | 24" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2830-2535-2HC | 32" | 30" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2836-2535-2HC | 32" | 36" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2842-2535-2HC | 32" | 42" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup
FT2845-2535-2HC | 32" | 45" | 1070 CFM | 115V | Sales Team Popup | Sales Team Popup